## FA-Data
INVENTORY_ITEM_ID | ATTRIBUTE1 | PRIMARY_UOM_CODE | ITEM_NUMBER | ASSET_ID | ASSET_NUMBER | CURRENT_UNITS | COST | DEPRN_RESERVE | NBV | LOCATION | ITEM_DESC | ASSET_DESC
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 23 | 10022 | 1 | 167220.93 | 38988.24 | 128232.69 | Navsari-SV-07_Gail | TPS CU 2X800W AIRCON OD CABINET | TPS CU 2X800W AIRCON OD CABINET
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 24 | 10023 | 2 | 85333.96 | 19895.95 | 65438.01 | Palghar-IP-03_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 25 | 10024 | 2 | 172880.72 | 40307.86 | 132572.86 | Palghar-IP-03_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 26 | 10025 | 1 | 167220.93 | 38988.24 | 128232.69 | Palghar-IP-03_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 27 | 10026 | 1 | 0 | 0 | 0 | Palghar-IP-03_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 28 | 10027 | 1 | 43423.64 | 10124.39 | 33299.25 | Palghar-IP-03_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 30 | 10029 | 2 | 85333.96 | 19895.95 | 65438.01 | Palghar-SV-14_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 31 | 10030 | 2 | 172880.72 | 40307.86 | 132572.86 | Palghar-SV-14_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 32 | 10031 | 1 | 167220.93 | 38988.24 | 128232.69 | Palghar-SV-14_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 33 | 10032 | 1 | 0 | 0 | 0 | Palghar-SV-14_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 34 | 10033 | 1 | 43423.64 | 10124.39 | 33299.25 | Palghar-SV-14_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 36 | 10035 | 2 | 85333.96 | 19895.95 | 65438.01 | Valsad-SV-11_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 37 | 10036 | 2 | 172880.72 | 40307.86 | 132572.86 | Valsad-SV-11_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 38 | 10037 | 1 | 66459.61 | 15495.32 | 50964.29 | Valsad-SV-11_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 39 | 10038 | 1 | 66459.61 | 15495.32 | 50964.29 | Valsad-SV-11_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 40 | 10039 | 1 | 43423.64 | 10124.39 | 33299.25 | Valsad-SV-11_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 42 | 10041 | 2 | 85333.96 | 19895.95 | 65438.01 | Navsari-SV-07_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 43 | 10042 | 2 | 172880.72 | 40307.86 | 132572.86 | Navsari-SV-07_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 44 | 10043 | 1 | 66459.61 | 15495.32 | 50964.29 | Navsari-SV-07_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 45 | 10044 | 1 | 0 | 0 | 0 | Navsari-SV-07_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 46 | 10045 | 1 | 43423.64 | 10124.39 | 33299.25 | Navsari-SV-07_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 48 | 10047 | 2 | 85333.96 | 19895.95 | 65438.01 | Surat-SV-06_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 49 | 10048 | 2 | 172880.72 | 40307.86 | 132572.86 | Surat-SV-06_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 50 | 10049 | 1 | 66459.61 | 15495.32 | 50964.29 | Surat-SV-06_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 51 | 10050 | 1 | 43423.64 | 10124.39 | 33299.25 | Surat-SV-06_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 52 | 10051 | 1 | 43423.64 | 10124.39 | 33299.25 | Surat-SV-06_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 54 | 10053 | 2 | 85333.96 | 19895.95 | 65438.01 | Surat-SV-04_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 55 | 10054 | 2 | 172880.72 | 40307.86 | 132572.86 | Surat-SV-04_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 56 | 10055 | 1 | 66459.61 | 15495.32 | 50964.29 | Surat-SV-04_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 57 | 10056 | 1 | 43423.64 | 10124.39 | 33299.25 | Surat-SV-04_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 58 | 10057 | 1 | 43423.64 | 10124.39 | 33299.25 | Surat-SV-04_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 60 | 10059 | 2 | 85333.96 | 19895.95 | 65438.01 | Bharuch-SV-02_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 61 | 10060 | 2 | 172880.72 | 40307.86 | 132572.86 | Bharuch-SV-02_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 62 | 10061 | 1 | 66459.61 | 15495.32 | 50964.29 | Bharuch-SV-02_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 63 | 10062 | 1 | 0 | 0 | 0 | Bharuch-SV-02_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 64 | 10063 | 1 | 43423.64 | 10124.39 | 33299.25 | Bharuch-SV-02_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 66 | 10065 | 2 | 85333.96 | 19895.95 | 65438.01 | Bharuch-Dahej_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 67 | 10066 | 2 | 172880.72 | 40307.86 | 132572.86 | Bharuch-Dahej_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 68 | 10067 | 1 | 167220.93 | 38988.24 | 128232.69 | Bharuch-Dahej_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 69 | 10068 | 1 | 0 | 0 | 0 | Bharuch-Dahej_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 70 | 10069 | 1 | 43423.64 | 10124.39 | 33299.25 | Bharuch-Dahej_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 72 | 10071 | 2 | 85333.96 | 19895.95 | 65438.01 | Bharuch-Ankot_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 73 | 10072 | 2 | 172880.72 | 40307.86 | 132572.86 | Bharuch-Ankot_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 74 | 10073 | 1 | 167220.93 | 38988.24 | 128232.69 | Bharuch-Ankot_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 75 | 10074 | 1 | 0 | 0 | 0 | Bharuch-Ankot_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 76 | 10075 | 1 | 43423.64 | 10124.39 | 33299.25 | Bharuch-Ankot_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 78 | 10077 | 2 | 85333.96 | 19895.95 | 65438.01 | Vadodara-Vemar_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 79 | 10078 | 2 | 172880.72 | 40307.86 | 132572.86 | Vadodara-Vemar_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 80 | 10079 | 1 | 167220.93 | 38988.24 | 128232.69 | Vadodara-Vemar_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 81 | 10080 | 1 | 0 | 0 | 0 | Vadodara-Vemar_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 82 | 10081 | 1 | 43423.64 | 10124.39 | 33299.25 | Vadodara-Vemar_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 84 | 10083 | 2 | 85333.96 | 19895.95 | 65438.01 | Vadodara-IP-02 Vaghodia_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 85 | 10084 | 4 | 345761.44 | 80615.69 | 265145.75 | Vadodara-IP-02 Vaghodia_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 86 | 10085 | 1 | 167220.93 | 38988.24 | 128232.69 | Vadodara-IP-02 Vaghodia_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 87 | 10086 | 1 | 66459.61 | 15495.32 | 50964.29 | Vadodara-IP-02 Vaghodia_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 88 | 10087 | 1 | 43423.64 | 10124.39 | 33299.25 | Vadodara-IP-02 Vaghodia_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 90 | 10089 | 2 | 85333.96 | 19895.95 | 65438.01 | Panchmahal-Jambudi_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 91 | 10090 | 2 | 172880.72 | 40307.86 | 132572.86 | Panchmahal-Jambudi_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 92 | 10091 | 1 | 167220.93 | 38988.24 | 128232.69 | Panchmahal-Jambudi_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 93 | 10092 | 1 | 0 | 0 | 0 | Panchmahal-Jambudi_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 94 | 10093 | 1 | 43423.64 | 10124.39 | 33299.25 | Panchmahal-Jambudi_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 96 | 10095 | 2 | 85333.96 | 19895.95 | 65438.01 | Dahod-Devgarbharia_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 97 | 10096 | 2 | 172880.72 | 40307.86 | 132572.86 | Dahod-Devgarbharia_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 98 | 10097 | 1 | 185254.56 | 43192.86 | 142061.7 | Dahod-Devgarbharia_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 99 | 10098 | 1 | 0 | 0 | 0 | Dahod-Devgarbharia_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 100 | 10099 | 1 | 43423.64 | 10124.39 | 33299.25 | Dahod-Devgarbharia_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 102 | 10101 | 2 | 85333.96 | 19895.95 | 65438.01 | Dahod-Dudhmal_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 103 | 10102 | 2 | 172880.72 | 40307.86 | 132572.86 | Dahod-Dudhmal_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 104 | 10103 | 1 | 185254.56 | 43192.86 | 142061.7 | Dahod-Dudhmal_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 105 | 10104 | 1 | 0 | 0 | 0 | Dahod-Dudhmal_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 106 | 10105 | 1 | 43423.64 | 10124.39 | 33299.25 | Dahod-Dudhmal_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 108 | 10107 | 2 | 106352.18 | 24796.43 | 81555.75 | Jhabua-Mohankot_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 109 | 10108 | 6 | 518642.15 | 120923.56 | 397718.59 | Jhabua-Mohankot_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 110 | 10109 | 1 | 167220.93 | 38988.24 | 128232.69 | Jhabua-Mohankot_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 111 | 10110 | 1 | 66459.61 | 15495.32 | 50964.29 | Jhabua-Mohankot_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 112 | 10111 | 1 | 43423.64 | 10124.39 | 33299.25 | Jhabua-Mohankot_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 114 | 10113 | 2 | 85333.96 | 19895.95 | 65438.01 | Ujjain-Kachi Baroda_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 115 | 10114 | 2 | 172880.72 | 40307.86 | 132572.86 | Ujjain-Kachi Baroda_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 116 | 10115 | 1 | 185254.56 | 43192.86 | 142061.7 | Ujjain-Kachi Baroda_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 117 | 10116 | 1 | 0 | 0 | 0 | Ujjain-Kachi Baroda_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 118 | 10117 | 1 | 43423.64 | 10124.39 | 33299.25 | Ujjain-Kachi Baroda_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 120 | 10119 | 2 | 85333.96 | 19895.95 | 65438.01 | Ujjain-Jagoti_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 121 | 10120 | 2 | 172880.72 | 40307.86 | 132572.86 | Ujjain-Jagoti_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 122 | 10121 | 1 | 185254.56 | 43192.86 | 142061.7 | Ujjain-Jagoti_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 123 | 10122 | 1 | 0 | 0 | 0 | Ujjain-Jagoti_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 124 | 10123 | 1 | 43423.64 | 10124.39 | 33299.25 | Ujjain-Jagoti_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 126 | 10125 | 2 | 85333.96 | 19895.95 | 65438.01 | Shajapur-Dhatrawada_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 127 | 10126 | 2 | 172880.72 | 40307.86 | 132572.86 | Shajapur-Dhatrawada_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 128 | 10127 | 1 | 185254.56 | 43192.86 | 142061.7 | Shajapur-Dhatrawada_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 129 | 10128 | 1 | 0 | 0 | 0 | Shajapur-Dhatrawada_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 130 | 10129 | 1 | 43423.64 | 10124.39 | 33299.25 | Shajapur-Dhatrawada_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 132 | 10131 | 2 | 85333.96 | 19895.95 | 65438.01 | Shajapur-Sandawata_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 133 | 10132 | 2 | 172880.72 | 40307.86 | 132572.86 | Shajapur-Sandawata_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 134 | 10133 | 1 | 185254.56 | 43192.86 | 142061.7 | Shajapur-Sandawata_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 135 | 10134 | 1 | 0 | 0 | 0 | Shajapur-Sandawata_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 136 | 10135 | 1 | 43423.64 | 10124.39 | 33299.25 | Shajapur-Sandawata_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 138 | 10137 | 2 | 85333.96 | 19895.95 | 65438.01 | Guna-Jaisinghpura_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 139 | 10138 | 2 | 172880.72 | 40307.86 | 132572.86 | Guna-Jaisinghpura_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 140 | 10139 | 1 | 185254.56 | 43192.86 | 142061.7 | Guna-Jaisinghpura_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 141 | 10140 | 2 | 86847.28 | 20248.81 | 66598.47 | Guna-Jaisinghpura_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 142 | 10141 | 1 | 43423.64 | 10124.39 | 33299.25 | Guna-Jaisinghpura_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 144 | 10143 | 2 | 85333.96 | 19895.95 | 65438.01 | Guna-Singhwasa_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 145 | 10144 | 2 | 172880.72 | 40307.86 | 132572.86 | Guna-Singhwasa_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 146 | 10145 | 1 | 185254.56 | 43192.86 | 142061.7 | Guna-Singhwasa_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 147 | 10146 | 2 | 86847.28 | 20248.81 | 66598.47 | Guna-Singhwasa_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 148 | 10147 | 1 | 43423.64 | 10124.39 | 33299.25 | Guna-Singhwasa_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 150 | 10149 | 2 | 85333.96 | 19895.95 | 65438.01 | Shivpuri-Khordar_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 151 | 10150 | 2 | 172880.72 | 40307.86 | 132572.86 | Shivpuri-Khordar_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 152 | 10151 | 1 | 185254.56 | 43192.86 | 142061.7 | Shivpuri-Khordar_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 153 | 10152 | 2 | 86847.28 | 20248.81 | 66598.47 | Shivpuri-Khordar_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 154 | 10153 | 1 | 43423.64 | 10124.39 | 33299.25 | Shivpuri-Khordar_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 156 | 10155 | 2 | 106352.18 | 24796.43 | 81555.75 | Morena-Mara_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 157 | 10156 | 6 | 518642.15 | 120923.56 | 397718.59 | Morena-Mara_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 158 | 10157 | 1 | 66459.61 | 15495.32 | 50964.29 | Morena-Mara_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 159 | 10158 | 1 | 66459.61 | 15495.32 | 50964.29 | Morena-Mara_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 160 | 10159 | 1 | 43423.64 | 10124.39 | 33299.25 | Morena-Mara_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 162 | 10161 | 2 | 106352.18 | 24796.43 | 81555.75 | Dhaulpur-Sone Ka Gurja_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 163 | 10162 | 6 | 518642.15 | 120923.56 | 397718.59 | Dhaulpur-Sone Ka Gurja_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 164 | 10163 | 1 | 167220.93 | 38988.24 | 128232.69 | Dhaulpur-Sone Ka Gurja_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 165 | 10164 | 1 | 66459.61 | 15495.32 | 50964.29 | Dhaulpur-Sone Ka Gurja_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 166 | 10165 | 1 | 43423.64 | 10124.39 | 33299.25 | Dhaulpur-Sone Ka Gurja_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 168 | 10167 | 2 | 85333.96 | 19895.95 | 65438.01 | Bharatpur-Bajhera_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 169 | 10168 | 2 | 172880.72 | 40307.86 | 132572.86 | Bharatpur-Bajhera_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 170 | 10169 | 1 | 167220.93 | 38988.24 | 128232.69 | Bharatpur-Bajhera_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 171 | 10170 | 1 | 0 | 0 | 0 | Bharatpur-Bajhera_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 172 | 10171 | 1 | 43423.64 | 10124.39 | 33299.25 | Bharatpur-Bajhera_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 174 | 10173 | 2 | 85333.96 | 19895.95 | 65438.01 | Faridabad-Jatauli_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 175 | 10174 | 2 | 172880.72 | 40307.86 | 132572.86 | Faridabad-Jatauli_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 176 | 10175 | 1 | 167220.93 | 38988.24 | 128232.69 | Faridabad-Jatauli_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 177 | 10176 | 1 | 0 | 0 | 0 | Faridabad-Jatauli_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 178 | 10177 | 1 | 43423.64 | 10124.39 | 33299.25 | Faridabad-Jatauli_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639404 | LTC-10000094 | EA | LTC-10000094 | 180 | 10179 | 2 | 106352.18 | 24796.43 | 81555.75 | Gaurgaon-SV-01 Nimoth_Gail | TPS PP ORION T DPR4KW 12KW 2/3 3P1L ID | SMPS FG
100000000639383 | LTC-10000054 | EA | LTC-10000054 | 181 | 10180 | 2 | 172880.72 | 40307.86 | 132572.86 | Gaurgaon-SV-01 Nimoth_Gail | TEL LFP STD MODULE 100AH 15S1P 4.8KWH | Battery FG
100000000639365 | LTC-10000017 | EA | LTC-10000017 | 182 | 10181 | 1 | 167220.93 | 38988.24 | 128232.69 | Gaurgaon-SV-01 Nimoth_Gail | TPS CU 2X800W AIRCON OD CABINET | Cabinet-1 FG
100000000639366 | LTC-10000018 | EA | LTC-10000018 | 183 | 10182 | 1 | 0 | 0 | 0 | Gaurgaon-SV-01 Nimoth_Gail | TPS CU SPLIT AIRCON 230VAC 1 TON ID ( AC Aircon) | Cabinet-2 FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 184 | 10183 | 1 | 43423.64 | 10124.39 | 33299.25 | Gaurgaon-SV-01 Nimoth_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639364 | LTC-10000016 | EA | LTC-10000016 | 186 | 10185 | 1 | 43423.64 | 10124.39 | 33299.25 | Gaurgaon-SV-01 Nimoth_Gail | TPS ACDB WALL MOUNT OD -ACDB | ACDB FG
100000000639748 | LTC-10000515 | EA | LTC-10000515 | 206 | 10205 | 7 | 6514.33 | 943.8 | 5570.53 | Mumbai-Netmagic DC 6 | Duplex Jumper (3.5m) - ETSI (SM for internal connections) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639748 | LTC-10000515 | EA | LTC-10000515 | 207 | 10206 | 7 | 6514.33 | 943.8 | 5570.53 | Mumbai-Netmagic DC 6 | Duplex Jumper (3.5m) - ETSI (SM for internal connections) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639748 | LTC-10000515 | EA | LTC-10000515 | 208 | 10207 | 7 | 6680.92 | 967.94 | 5712.98 | Thane-CTRL S Mahape | Duplex Jumper (3.5m) - ETSI (SM for internal connections) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639748 | LTC-10000515 | EA | LTC-10000515 | 209 | 10208 | 7 | 6515.4 | 943.97 | 5571.43 | Thane-CTRL S Mahape | Duplex Jumper (3.5m) - ETSI (SM for internal connections) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639762 | LTC-10000529 | EA | LTC-10000529 | 210 | 10209 | 2 | 1723.37 | 249.67 | 1473.7 | Mumbai-Netmagic DC 6 | JUMPER (155MM) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639762 | LTC-10000529 | EA | LTC-10000529 | 211 | 10210 | 2 | 1723.37 | 249.67 | 1473.7 | Mumbai-Netmagic DC 6 | JUMPER (155MM) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639762 | LTC-10000529 | EA | LTC-10000529 | 212 | 10211 | 2 | 1723.65 | 249.74 | 1473.91 | Mumbai-Netmagic DC 6 | JUMPER (155MM) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639762 | LTC-10000529 | EA | LTC-10000529 | 213 | 10212 | 2 | 1723.65 | 249.74 | 1473.91 | Thane-CTRL S Mahape | JUMPER (155MM) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639768 | LTC-10000535 | EA | LTC-10000535 | 214 | 10213 | 4 | 3097.89 | 448.83 | 2649.06 | Thane-CTRL S Mahape | Simplex Jumper (3.5m) - NAR | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639768 | LTC-10000535 | EA | LTC-10000535 | 215 | 10214 | 4 | 3021.14 | 437.71 | 2583.43 | Thane-CTRL S Mahape | Simplex Jumper (3.5m) - NAR | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639768 | LTC-10000535 | EA | LTC-10000535 | 216 | 10215 | 4 | 3021.64 | 437.76 | 2583.88 | Thane-CTRL S Mahape | Simplex Jumper (3.5m) - NAR | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639768 | LTC-10000535 | EA | LTC-10000535 | 217 | 10216 | 4 | 3021.64 | 437.76 | 2583.88 | Thane-CTRL S Mahape | Simplex Jumper (3.5m) - NAR | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639766 | LTC-10000533 | EA | LTC-10000533 | 218 | 10217 | 3 | 2960.44 | 428.91 | 2531.53 | Thane-CTRL S Mahape | DUPLEX JUMPER (10M) - ETSI - SM | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639766 | LTC-10000533 | EA | LTC-10000533 | 219 | 10218 | 3 | 2960.44 | 428.91 | 2531.53 | Thane-CTRL S Mahape | DUPLEX JUMPER (10M) - ETSI - SM | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639766 | LTC-10000533 | EA | LTC-10000533 | 220 | 10219 | 3 | 3036.15 | 439.9 | 2596.25 | Thane-CTRL S Mahape | DUPLEX JUMPER (10M) - ETSI - SM | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639766 | LTC-10000533 | EA | LTC-10000533 | 221 | 10220 | 3 | 2960.94 | 428.96 | 2531.98 | Thane-CTRL S Mahape | DUPLEX JUMPER (10M) - ETSI - SM | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639777 | LTC-10000544 | EA | LTC-10000544 | 222 | 10221 | 4 | 5868.44 | 850.21 | 5018.23 | Thane-CTRL S Mahape | Short Duplex Jumper (120-135mm) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639777 | LTC-10000544 | EA | LTC-10000544 | 223 | 10222 | 4 | 5868.44 | 850.21 | 5018.23 | Mumbai-Netmagic DC 6 | Short Duplex Jumper (120-135mm) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639777 | LTC-10000544 | EA | LTC-10000544 | 224 | 10223 | 4 | 5869.41 | 850.37 | 5019.04 | Mumbai-Netmagic DC 6 | Short Duplex Jumper (120-135mm) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639777 | LTC-10000544 | EA | LTC-10000544 | 225 | 10224 | 4 | 5869.41 | 850.37 | 5019.04 | Mumbai-Netmagic DC 6 | Short Duplex Jumper (120-135mm) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639760 | LTC-10000527 | EA | LTC-10000527 | 226 | 10225 | 2 | 789.75 | 114.41 | 675.34 | Mumbai-Netmagic DC 6 | 10dB Attenuator | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639760 | LTC-10000527 | EA | LTC-10000527 | 227 | 10226 | 2 | 789.75 | 114.41 | 675.34 | Mumbai-Netmagic DC 6 | 10dB Attenuator | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639760 | LTC-10000527 | EA | LTC-10000527 | 228 | 10227 | 2 | 789.89 | 114.44 | 675.45 | Mumbai-Netmagic DC 6 | 10dB Attenuator | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639760 | LTC-10000527 | EA | LTC-10000527 | 229 | 10228 | 2 | 789.89 | 114.44 | 675.45 | Mumbai-Netmagic DC 6 | 10dB Attenuator | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639779 | LTC-10000546 | EA | LTC-10000546 | 230 | 10229 | 2 | 1682.91 | 243.84 | 1439.07 | Mumbai-Netmagic DC 6 | CA-AC POWER SUPPLY_CONTINENTAL EUROPE (LZSH/-15~65C) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639779 | LTC-10000546 | EA | LTC-10000546 | 231 | 10230 | 2 | 1682.91 | 243.84 | 1439.07 | Mumbai-Netmagic DC 6 | CA-AC POWER SUPPLY_CONTINENTAL EUROPE (LZSH/-15~65C) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639779 | LTC-10000546 | EA | LTC-10000546 | 232 | 10231 | 2 | 1683.18 | 243.86 | 1439.32 | Mumbai-Netmagic DC 6 | CA-AC POWER SUPPLY_CONTINENTAL EUROPE (LZSH/-15~65C) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639779 | LTC-10000546 | EA | LTC-10000546 | 233 | 10232 | 2 | 1683.18 | 243.86 | 1439.32 | Mumbai-Netmagic DC 6 | CA-AC POWER SUPPLY_CONTINENTAL EUROPE (LZSH/-15~65C) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639752 | LTC-10000519 | EA | LTC-10000519 | 234 | 10233 | 2 | 1682.91 | 243.84 | 1439.07 | Mumbai-Netmagic DC 6 | CA-AC PWR SPLY CBL CNTRL EUR (PSS16II) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639752 | LTC-10000519 | EA | LTC-10000519 | 235 | 10234 | 2 | 1682.91 | 243.84 | 1439.07 | Mumbai-Netmagic DC 6 | CA-AC PWR SPLY CBL CNTRL EUR (PSS16II) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639752 | LTC-10000519 | EA | LTC-10000519 | 236 | 10235 | 2 | 1683.18 | 243.86 | 1439.32 | Mumbai-Netmagic DC 6 | CA-AC PWR SPLY CBL CNTRL EUR (PSS16II) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639752 | LTC-10000519 | EA | LTC-10000519 | 237 | 10236 | 2 | 1683.18 | 243.86 | 1439.32 | Mumbai-Netmagic DC 6 | CA-AC PWR SPLY CBL CNTRL EUR (PSS16II) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639744 | LTC-10000511 | EA | LTC-10000511 | 238 | 10237 | 1 | 614.42 | 89.01 | 525.41 | Thane-CTRL S Mahape | CAT5 cable | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639744 | LTC-10000511 | EA | LTC-10000511 | 239 | 10238 | 1 | 614.42 | 89.01 | 525.41 | Mumbai-Netmagic DC 6 | CAT5 cable | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639744 | LTC-10000511 | EA | LTC-10000511 | 240 | 10239 | 1 | 614.52 | 89.01 | 525.51 | Mumbai-Netmagic DC 6 | CAT5 cable | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639744 | LTC-10000511 | EA | LTC-10000511 | 241 | 10240 | 1 | 614.52 | 89.01 | 525.51 | Mumbai-Netmagic DC 6 | CAT5 cable | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639763 | LTC-10000530 | EA | LTC-10000530 | 242 | 10241 | 2 | 35194.31 | 5099.07 | 30095.24 | Thane-CTRL S Mahape | Fiber Storage Tray Kit | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639763 | LTC-10000530 | EA | LTC-10000530 | 243 | 10242 | 2 | 35194.31 | 5099.07 | 30095.24 | Mumbai-Netmagic DC 6 | Fiber Storage Tray Kit | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639787 | LTC-10000554 | EA | LTC-10000554 | 244 | 10243 | 1 | 1162247.31 | 168390.64 | 993856.67 | Mumbai-Microscan Andheri DC | DL360 GEN 10 2CPU 16 CORE | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639776 | LTC-10000543 | EA | LTC-10000543 | 245 | 10244 | 1 | 1038277.04 | 150429.37 | 887847.67 | Mumbai-Microscan Andheri DC | DL380 28-cores 288GB RAM, 12x300GB DISKS - Full configuration (1+0) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639758 | LTC-10000525 | EA | LTC-10000525 | 246 | 10245 | 826 | 309005.06 | 44769.78 | 264235.28 | Thane-CTRL S Mahape | WDM Blade License Point Fee | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639758 | LTC-10000525 | EA | LTC-10000525 | 247 | 10246 | 826 | 309005.06 | 44769.78 | 264235.28 | Thane-CTRL S Mahape | WDM Blade License Point Fee | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639758 | LTC-10000525 | EA | LTC-10000525 | 248 | 10247 | 831 | 310926.91 | 45048.22 | 265878.69 | Mumbai-Netmagic DC 6 | WDM Blade License Point Fee | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639758 | LTC-10000525 | EA | LTC-10000525 | 249 | 10248 | 831 | 310926.91 | 45048.22 | 265878.69 | Mumbai-Netmagic DC 6 | WDM Blade License Point Fee | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639750 | LTC-10000517 | EA | LTC-10000517 | 250 | 10249 | 8 | 797175.26 | 115497.66 | 681677.6 | Thane-CTRL S Mahape | QSFP28 100G BASE-LR4 (Dual Rate 100GE/OTU4) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639750 | LTC-10000517 | EA | LTC-10000517 | 251 | 10250 | 8 | 797175.26 | 115497.66 | 681677.6 | Thane-CTRL S Mahape | QSFP28 100G BASE-LR4 (Dual Rate 100GE/OTU4) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639750 | LTC-10000517 | EA | LTC-10000517 | 252 | 10251 | 8 | 797306.95 | 115516.74 | 681790.21 | Mumbai-Netmagic DC 6 | QSFP28 100G BASE-LR4 (Dual Rate 100GE/OTU4) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639750 | LTC-10000517 | EA | LTC-10000517 | 253 | 10252 | 8 | 797306.95 | 115516.74 | 681790.21 | Mumbai-Netmagic DC 6 | QSFP28 100G BASE-LR4 (Dual Rate 100GE/OTU4) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639747 | LTC-10000514 | EA | LTC-10000514 | 254 | 10253 | 2 | 30400.75 | 4404.56 | 25996.19 | Thane-CTRL S Mahape | EULH II OSC SFP | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639747 | LTC-10000514 | EA | LTC-10000514 | 255 | 10254 | 2 | 30400.75 | 4404.56 | 25996.19 | Thane-CTRL S Mahape | EULH II OSC SFP | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639747 | LTC-10000514 | EA | LTC-10000514 | 256 | 10255 | 2 | 30405.78 | 4405.31 | 26000.47 | Mumbai-Netmagic DC 6 | EULH II OSC SFP | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639747 | LTC-10000514 | EA | LTC-10000514 | 257 | 10256 | 2 | 30405.78 | 4405.31 | 26000.47 | Mumbai-Netmagic DC 6 | EULH II OSC SFP | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639778 | LTC-10000545 | EA | LTC-10000545 | 258 | 10257 | 8 | 3715647.42 | 538336.59 | 3177310.83 | Thane-CTRL S Mahape | C2ACO CFP2-ACO | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639778 | LTC-10000545 | EA | LTC-10000545 | 259 | 10258 | 8 | 3715647.42 | 538336.59 | 3177310.83 | Mumbai-Netmagic DC 6 | C2ACO CFP2-ACO | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639785 | LTC-10000552 | EA | LTC-10000552 | 271 | 10270 | 1 | 230388.72 | 33379.55 | 197009.17 | Thane-CTRL S Mahape | PSS16II AC/DC SHELFKIT (AC/DC shelf 16FAN2 16UP2 AirFilter) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639785 | LTC-10000552 | EA | LTC-10000552 | 272 | 10271 | 1 | 230388.72 | 33379.55 | 197009.17 | Mumbai-Netmagic DC 6 | PSS16II AC/DC SHELFKIT (AC/DC shelf 16FAN2 16UP2 AirFilter) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639785 | LTC-10000552 | EA | LTC-10000552 | 273 | 10272 | 1 | 166460.72 | 24117.42 | 142343.3 | Thane-CTRL S Mahape | PSS16II AC/DC SHELFKIT (AC/DC shelf 16FAN2 16UP2 AirFilter) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639785 | LTC-10000552 | EA | LTC-10000552 | 274 | 10273 | 1 | 188874.41 | 27364.81 | 161509.6 | Mumbai-Netmagic DC 6 | PSS16II AC/DC SHELFKIT (AC/DC shelf 16FAN2 16UP2 AirFilter) | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639771 | LTC-10000538 | EA | LTC-10000538 | 275 | 10274 | 1 | 5770.89 | 836.09 | 4934.8 | Thane-CTRL S Mahape | PSS16II INST KIT-19IN 2-post AC/DC | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639771 | LTC-10000538 | EA | LTC-10000538 | 276 | 10275 | 1 | 5770.89 | 836.09 | 4934.8 | Thane-CTRL S Mahape | PSS16II INST KIT-19IN 2-post AC/DC | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639771 | LTC-10000538 | EA | LTC-10000538 | 277 | 10276 | 1 | 5771.85 | 836.25 | 4935.6 | Thane-CTRL S Mahape | PSS16II INST KIT-19IN 2-post AC/DC | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639771 | LTC-10000538 | EA | LTC-10000538 | 278 | 10277 | 1 | 5771.85 | 836.25 | 4935.6 | Thane-CTRL S Mahape | PSS16II INST KIT-19IN 2-post AC/DC | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect
100000000639773 | LTC-10000540 | EA | LTC-10000540 | 279 | 10278 | 1 | 929.67 | 134.67 | 795 | Thane-CTRL S Mahape | KIT SWP 1830PSS SWDM R12.0.5 | POWER CABLE: 3 Core 4 sq mm Copper cable Polycab FRLS with 32 Amp Neema Connect